?.??	Stainless Steel Domestic Hot Water Buffer Vessel

The Mechanical Contractor shall supply and install a domestic hot water buffer vessel as supplied by CHWS Ltd (contact Sales, email: sales@chwsltd.co.uk tel: 01934 244 770) from their ProStor XMF range, in accordance with the following schedule:

- Model ref:				ProStor XMF [Insert Model Reference]

- Vessel Capacity:			[Insert Capacity] litres

- Quantity:				[Insert Quantity]

- Electrical Immersions:		[Insert kW input] [Insert quantity]

The cylinder shall strictly comprise the following features; suitable for domestic hot water storage, AISI 316 stainless steel construction, 100mm polyurethane insulation with metal sheet outer, 6 bar working pressure, 100 Deg C maximum working temperature, 4” inspection hatch, drain, destratification tappings, 2x electrical immersion ports and 4x ½” sensor tappings.

The unit shall be fully WRAS and KIWA UK Reg 4 approved (Certificate Numbers: WRAS 250104710; KIWA UK Reg 4: 2501712 (2)).