?.??	Packaged Plate Heat Exchangers

The Mechanical Contractor shall supply and install a Propak Thermal packaged plate heat exchanger, as supplied by Commercial Hot Water Solutions Ltd (contact sales, email: sales@chwsltd.co.uk tel: 01934 244 770) from their Propak Thermal range, in accordance with the following schedule:

Model Reference:

Propak Thermal XXXX D

Plate Heat Exchanger Duty:

XXX kW @ XX / XX Primary Flow & Return – XX / XX Secondary Inlet / Outlet

The Packaged Plate Heat Exchanger unit shall strictly comprise the following features: AISI 316 stainless steel plates, EPDM Gaskets, 2x ERP A Rated Modulating / Variable Speed Primary Pumps, 3-Port Control Valve, PID Controller with Full MODBUS Interface, preassembled on rigid metal frame.

The unit shall have a maximum working pressure of 10 bar, have a maximum primary and secondary pressure drop of 30kPa.

The unit shall be fully WRAS approved.